Configuration Item List for

Non-Contact Type Clinical Thermometer for

Adult People

Part Number: 24-06-TRM-002

Rev: 01

Date: 20 Nov 2024

ALL RIGHTS RESERVED. REPRODUCTION OR ISSUE TO THIRD PARTIES IN ANY FORM WHATEVER IS NOT PERMITTED WITHOUT WRITTEN AUTHORITY FROM THE PROPRIETORS.

CHANGE RECORDS

FIRST RELEASE

CREATED BY

Name	Title	Date	Sign.

Beyza YAŞAR	Electronic Eng                                                                             20.11.2024

CHECKED BY

#### Name	Title	Date	Sign.

Doğa ERPAK	Quality Eng                                                                            21.11.2024 08.10.2024

APPROVED BY

#### Name	Title	Date	Sign.

Elif AĞILLAR                   Program Mng	21.11.2024

### REVISIONS

Rev. No	  Change Description	Date	QA Approval

01                Configuration item list                                                                        04.12.2024      Approved

02

TABLE OF CONTENTS

CHANGE RECORDS	2

FIRST RELEASE	2

REVISIONS	2

- PURPOSE	4

- SCOPE	4

- REFERENCES	4

- CONFIGURATION ITEM LIST	5

- PURPOSE

The configuration management process is intended to provide the ability to consistently replicate the configuration item, regenerate the information if necessary and modify the configuration item in a controlled fashion if modification is necessary.

The purpose of this document is to establish a baseline for the configuration control of all configuration items. The purpose of baseline establishment is to define a basis for further activities and allow reference to, control of and traceability between configuration items. Once a baseline is established it should be subject to change control procedures.

- SCOPE

Configuration items are uniquely identified with a part number, documented and controlled and baselines will be established. The baseline is established for the configuration items at the end of a conceptual design of a clinical body-non-contact thermometer. For the parts designed in this project, specific part numbers will be created. The off-the-shelf parts may be documented with their code numbers.

- REFERENCES

  - 24-06-TRM-000: Clinical Contact Thermometer Design Description

  - ISO 80601-2-56:2017: Part 2-56: Particular requirements for basic safety and essential performance of clinical thermometers for body temperature measurement

- CONFIGURATION ITEM LIST

Table 1. Configuration Item List

| Item No | Part Number | Description |
| --- | --- | --- |
| 1 | MLX90614 | Infrared Temperature Sensor |
| 2 | 24-06-TRM-21 | Power and Control Board Assembly |
| 3 | 24-06-TRM-003 | Arduino Pro mini |
| 4 | 24-06-TRM-009 | 0.96-inch TFT LCD Display Kit |
| 5 | 24-06-TRM-002 | TP4056 Lithium Battery Charging Module |
| 6 | 24-06-TRM-400 | Firmware, Thermometer |
| 7 | 24-06-TRM-12 | Power and Control PCB |
| 8 | 24-06-TRM-200 | Housing Cover |
| 9 | 24-06-TRM-201 | Housing, Thermometer |
| 10 | 24-06-TRM-001 | 18650 Lithium Ion Battery |
| 11 | 24-06-TRM-012 | Buzzer |