Faculty of Engineering

Department of Biomedical Engineering

# Configuration List for The

# Non-Contact Clinical Thermometer

Part Number: 01-MIY-004

Rev-1

Date: 18/12/2025

CHANGE RECORDS

FIRST RELEASE

| CREATED BY |  |  |
| --- | --- | --- |
| Name | Title | Date Sign. |
| Augusta Nwosu | Electrical Engineer | 18.12.2025 |
| CHECKED BY |  |  |
| Name | Title | Date Sign. |
| Fadime Taş | Quality Engineer | 18.12.2025 |
| APPROVED BY |  |  |
| Name | Title | Date Sign. |
| Efe Ateş | Program Manager | 18.12.2025 |

REVISIONS

| Rev. No | Change Description | Date | QA Approval |
| --- | --- | --- | --- |

TABLE OF CONTENTS

FIRST RELEASE……………………………………………….………………………………………..2

REVISIONS……………………………………………………………………………………...2

1.	PURPOSE…………………………………………………………………………………..4

2.	SCOPE………………………………………………………………………………………	4

3.	CONFIGURATION ITEM LIST………………………………………………………….4

4.	REFERENCES……………………………………………………………………………..	5

- PURPOSE

The purpose of the configuration item list for the non-contact type thermometer is to formally identify, document, and control all hardware and electronic components required for the development, assembly, and maintenance of the device. By listing each component with its corresponding part number and item description, the configuration item list ensures traceability, consistency, and accuracy throughout the product lifecycle. This documentation supports effective procurement, quality assurance, and change management by providing a single, authoritative reference that aligns design specifications with the actual components used in the thermometer.

- SCOPE

The scope of the configuration item list covers all materials and components necessary for the non-contact thermometer, including sensing elements, electronic modules, mechanical parts, power components, and interconnections. For each item, the list provides the relevant part number, a clear description, and reference links to approved suppliers for purchasing the materials. The scope is limited to components that directly contribute to the functionality, assembly, and verification of the thermometer, and it serves as a reference for all engineers during design and manufacturing activities.

- CONFIGURATION ITEM LIST

Table 1: Configuration Item List for Non Contact Thermometer

| Item No | Part Number | Description |
| --- | --- | --- |
| 1 | 01-PRT-001 | MCU Kit, ESP32 C3 Mini |
| 2 | 01-PRT-002 | MLX90614, Infrared Camera Sensor |
| 3 | 01-PRT-003 | TP4056, Battery Charger Module |
| 4 | 01-PRT-004 | Display Kit, 0.96” LCD Display |
| 5 | 01-PRT-005 | On/Off Slider Switch |
| 6 | 01-PRT-006 | Measurement Button |
| 7 | 01-PRT-007 | Buzzer |
| 8 | 01-PRT-008 | Resistor |
| 9 | 01-PRT-009 | JST Connector |
| 10 | 01-PRT-010 | Lithium Ion Battery |
| 11 | 01-PRT-011 | Sensor PCB |
| 12 | 01-PRT-012 | Housing Assembly |

- REFERENCES

- Microcontroller – ESP 32 C3 super mini - https://www.direnc.net/esp32-c3-mini-wifi-bluetooth-modulu

- Infrared camera sensor - MLX90614 - https://www.robotistan.com/gy906-mlx90614-kizilotesi-sensoru-modulu?language=tr&h=e5094714&_sgm_campaign=fcs_c12e1a8d78000&_sgm_source=9896%7Cproduct&_sgm_action=search&_sgm_term=mlx90614&_sgm_pinned=false

- Battery charger – TP4056 - https://www.robotistan.com/tp4056-type-c-1s-37v-lipo-li-ion-pil-sarj-devresi

- Battery and buzzer connector – JST connector - https://www.robotistan.com/ds1066-2mrw6xb-2-pin-90-derece-pcb-jst-konnektor?language=tr&h=4bd8387c&_sgm_campaign=fcs_c12e1a8d78000&_sgm_source=12491%7Cproduct&_sgm_action=search&_sgm_term=jst&_sgm_pinned=falseii

- LCD Display - https://www.direnc.net/128x64-096-4-pin-oled-grafik-lcd-ekran-ssd1306-i2c-beyaz

- ON/OFF Slider Switch - https://www.direnc.net/surgulu-on-off-switch-180

- Begin Measurement Button - https://www.direnc.net/6x6-05mm-tach-buton-4-bacak

- Resistor – 1kohm, 10kohm - Buy 0R 5% 1W 2512 SMD Resistor at a Good Price - Direnc.net®

- Active Buzzer - 3-24V Circuit 22.6mm Ear Buzzer - Buy Black at a Reasonable Price - Direnc.net®