Faculty of Engineering

Department of Biomedical Engineering

# Preliminary Design Review (PMR)

# for Clinical Body Thermometer

Part Number: 01-MIY-005

Rev-1

Date: 10/12/2025

CHANGE RECORDS

FIRST RELEASE

| CREATED BY |  |  |
| --- | --- | --- |
| Name | Title | Date Sign. |
| Gülşen Demir | System Engineer | 10.12.2025 |
| CHECKED BY |  |  |
| Name | Title | Date Sign. |
| Efe Ateş | Program Manager | 10.12.2025 |
| Eren Can Kayabaşı | Software Engineer | 10.12.2025 |
| Furkan Bacak | Production Engineer | 10.12.2025 |
| Fadime Taş | Quality Engineer | 10.12.2025 |
| Augusta Nwosu | Electrical Engineer | 10.12.2025 |
| Ayşe Sarıkaya | Mechanical Engineer | 10.12.2025 |

TABLE OF CONTENTS

CHANGE RECORDS	2

FIRST RELEASE	2

1. PURPOSE	4

2.  SCOPE	4

3. RESPONSIBILITY	4

4.  REFERENCES	4

5. CHECK LIST FOR PRELIMINARY DESIGN REVIEW	5

6.  APPROVALS	5

# 1.	PURPOSE

According to the Project Management Plan, this document will confirm that the initial design work is completed and ready to proceed the detailed design.

# 2. 	SCOPE

The scope of the design activities leading to the Preliminary Design Review includes to formally verify that the proposed design approach is sound and that all necessary foundational design documents are completed using a check list, thereby enabling the project to formally proceed to the resource-intensive detailed design and specification phase.

# 3.	RESPONSIBILITY

Program Engineer is responsible, scheduling, organizing. System Engineer makes available the design data and report the design review. Quality Engineer is responsible for analysing the reports and make corrective actions.

# 4. 	REFERENCES

4.1. Project Management Plan

4.2. System Requirements Specification

4.3. Design Description Document

4.4. Configuration Item List

# 5. CHECK LIST FOR PRELIMINARY DESIGN REVIEW

| Item No | Task Description | Status | C/A |
| --- | --- | --- | --- |
| 1 | System Requirement Specification is prepared and approved by QA | OK |  |
| 2 | Each requirement is unambiguous, verifiable and is not conflict with other requirements | OK |  |
| 3 | Applicable standards and guidance are considered | OK |  |
| 4 | All requirements are correctly defined | OK |  |
| 5 | Environmental requirements are defined | OK |  |
| 6 | Safety requirements are defined | OK |  |
| 7 | Design Description Document is prepared and approved by QA | OK |  |
| 8 | The design should be capable of being implemented, tested and maintained | OK |  |
| 9 | All hardware functions and interfaces are covered | OK |  |
| 10 | Architecture is covered completely | OK |  |
| 11 | Configuration items are shown in a block diagram | OK |  |
| 12 | Configuration Item List document prepared and approved by QA | OK |  |
| 13 | Each configuration item has a specific part number for identification | OK |  |
| 14 | The components to be used in the design are not obsolete | OK |  |
| Status: OK (Okey) or NOK (Not Okey) If the status is NOK then Corrective Action Due Date will be written C/A: |  |  |  |

# 6. 	APPROVALS

Efe Ateş - Program Engineer

Gülşen Demir - System Engineer

Augusta Nwosu - Electronics Engineer

Ayşe Sarıkaya - Mechanical Engineer

Fadime Taş - QA Engineer

Eren Can Kayabaşı - Software Engineer

Furkan Bacak - Production Engineer