Faculty of Engineering

Department of Biomedical Engineering

# Ethics Declaration for The

# Non-Contact Clinical Thermometer

Part Number: 01-MIY-007

Rev-1

Date: 18/12/2025

CHANGE RECORDS

FIRST RELEASE

| CREATED BY |  |  |
| --- | --- | --- |
| Name | Title | Date Sign. |
| Gülşen Demir | System Engineer | 18.12.2025 |
| Augusta Nwosu | Electrical Engineer | 18.12.2025 |

| CHECKED BY |  |  |  |
| --- | --- | --- | --- |
| Name | Title |  | Date Sign. |
| Fadime Taş | Quality Engineer |  | 18.12.2025 |
| APPROVED BY |  |  |  |
| Name | Title |  | Date Sign. |
| Efe Ateş | Program Manager |  | 18.12.2025 |

REVISIONS

| Rev. No | Change Description | Date | QA Approval |
| --- | --- | --- | --- |

TABLE OF CONTENTS

CHANGE RECORDS	2

FIRST RELEASE	2

REVISIONS	2

1. PURPOSE	4

2. SCOPE	4

3. ETHICAL DECLARATIONS	4

4. REFERENCES	4

# PURPOSE

The purpose of this ethics declaration is to evaluate and address the ethical considerations associated with the design and development of a non-contact body temperature measurement device intended for users. The report aims to ensure that ethical principles such as user safety, privacy, accuracy, and respect for human dignity are upheld throughout the design process and potential use of the device.

# SCOPE

The scope of this ethics declaration covers ethical aspects associated with the design, development, and intended clinical use of the non-contact thermometer. The device is designed to measure body temperature without physical contact, supporting hygienic practices in clinical environments. This report applies to the academic design phase of the project and does not include human testing or regulatory approval processes.

# ETHICAL DECLARATIONS

The device adheres to the following medical standards. ISO 80601-2-56:2017: Medical electrical equipment – Particular requirements for basic safety and essential performance of clinical thermometers for body temperature measurement. It defines the accuracy requirements ±0.5℃ in the 34°C-42°C range and testing methods for infrared skin thermometers. IEC 60601-1 (General Safety): Medical electrical equipment – Part 1: General requirements for basic safety and essential performance. Ensuring the use of low-voltage (3.3V) DC power inherently complies with the safety limits for "Applied Parts." ISO 15223‐1:2016, Medical devices — Symbols to be used with medical device labels, labelling and information to be supplied — Part 1: General requirements

# REFERENCES

[1] ”BS EN ISO 80601-2-56:2017+A1:2020 | 31 May 2020 | BSI Knowledge,” Bsigroup.com, May 31, 2020. https://knowledge.bsigroup.com/products/medical-electrical-equipment-particular-requirements-for-basic-safety-and-essential-performance-of-clinical-thermometers-for-body-temperature-measurement (accessed Dec. 22, 2025).

‌