## Sheet1
VERIFICATION/VALIDATION TEST DATA SHEET
Assembly P/N: |  | Date:
Assembly S/N: |  | Test Operator:
Test Procedure: |  | QA
ATP paragraph | Description | Test Limits | Measurement Result | Pass/Fail
ATP para 4.1 | Operating Controls | N/A
ATP para 4.1.1 | MODE switch | Toggle the mode
ATP para 4.1.2 | POWER ON/OFF | Display Temperature
ATP para 4.1.2 | Automatic Turn Off | Turn off time < 30 sec
ATP para 4.2 | Accuracy | < 0.3°C
ATP para 4.3 | Rated Output Range | 34 °C < T < 43°C
ATP para 4.4 | Units of Measure | °C
ATP para 4.5 | Measurement Time | < 30 sec
ATP para 4.6 | Alarm Conditions | N/A
ATP para 4.6.1 | Completion of measurement | Sound alarm
ATP para 4.6.2 | Below The Tange | Blue Display
ATP para 4.6.2 | Above The Range | Red Display
V2TP para 3.2 | Weight | <200gr
V2TP para 3.3 | Surface | Demonstrate
V2TP para 3.4 | Operating Temperature | N/A
V2TP para 3.5 | Storage Temperature | N/A
V2TP para 3.6 | Display Size | > = 4 mm
V2TP para 3.7 | Measuruing Site | Demonstrate
V2TP para 3.8 | Power Supply | Rechargable
V2TP para 4.1 | Clinical Bias, Δcb
V2TP para 4.1 | Limits of Agreement, LA
V2TP para 4.1 | Clinical Repeatability, σr
Completion Date: